***Sept 5, 2018***

|  |  |  |
| --- | --- | --- |
| CanFab Accessory | Item Code Description | SOH |
| 1001A-CB08F-CBC | 8” Tall Roof Curb, Fingerlock, Seismic (***SPP 2-3 Ton)*** | 0 |
| 1001A-CB08F-G | 8” Tall Roof Curb, Fingerlock Adj. Pitch  ***(SPP 2-3 Ton)*** | 0 |
| 1001A-CB11F-CBC | 11” Tall Roof Curb, Fingerlock, Seismic ***(SPP 2-3 Ton)*** | 0 |
| 1003A-CB08F-CBC | 8” Tall Roof Curb, Fingerlock, Seismic  ***(SPP 3-5 Ton)*** | 0 |
| 1003A-CB08F-G | 8” Tall Roof Curb, Fingerlock, Adj. Pitch  ***(SPP 3-5 Ton)*** | 0 |
| 1003A-CB11F-CBC | 11” Tall Roof Curb, Fingerlock, Seismic  ***(SPP 3-5 Ton)*** | 0 |
| 1004A-IC11A-CBC | 11” Tall Isolation Curb, Seismic | 0 |
| 1005-CB11F-CBC | 11” Tall Roof Curb, Fingerlock, Seismic (***3-6.5 Ton)*** | 0 |
| 1005-CB14F-CBC | 14” Tall Roof Curb, Fingerlock, Seismic (***3-6.5 Ton)*** | 0 |
| 1005-CB14F-G | 14” Tall Adjustable Pitch Roof Curb (***3-6.5 Ton)*** | 17 |
| 1006-IC11A-CBC | 11” Tall Isolation Curb, Seismic (***3-6.5 Ton)*** | 0 |
| 1007-CB11F-CBC | 11” Tall Roof Curb, Seismic (***6-12.5 Ton)*** | 0 |
| 1007-CB14F-CBC | 14” Tall Roof Curb, Fingerlock, Seismic (***6-12.5 Ton)*** | 0 |
| 1007-CB14F-G | 14” Tall Roof Curb, Adjustable Pitch (***6-12.5 Ton)*** | 0 |
| 1008-IC11A-CBC | 11” Tall Isolation Curb, Seismic (***6-12.5 Ton)*** | 10 |
| 1094-IC11A-CBC | 11” Tall Isolation Curb, Seismic | 2 |
| 1105-EC-HDE | Economizer, Honeywell, Drybulb, JADE (***3-6.5 Ton)*** | 6 |
| 1105-HEC-HDE | Horizontal Econo,Honeywell,Drybulb JADE (***3-6.5 Ton)*** | 0 |
| 1107-EC-HDE | Economizer, Honeywell, Drybulb, JADE (***6-12.5 Ton)*** | 0 |
| 1107-HEC-HDE | Horizontal Econo,Honeywell,Drybulb JADE ( ***6-12.5 Ton)*** | 0 |
| 1159-EC-HDE | Economizer, Honeywell, Drybulb JADE ( ***SPP 2-3 Ton)*** | 12 |
| 1159-HEC-HDE | Horizontal Econo Honeywell Drybulb JADE ( ***SPP 2-3 Ton)*** | 0 |
| 1161-EC-HDE | Economizer, Honeywell, Drybulb JADE ***(SPP 3-5 Ton)*** | 1 |
| 1161-HEC-HDE | Horizontal Econo Honeywell Drybulb JADE ***(SPP 3-5 Ton)*** | 0 |
| 1205-OA | Outside Air Hood (***3-6.5 Ton)*** | 0 |
| 1207-OA | Outside Air Hood (***6-12.5 Ton)*** | 0 |
| 1259-OA | Outside Air Hood ( ***SPP 2-3 Ton)*** | 0 |
| 1261-OA | Outside Air Hood ***(SPP 3-5 Ton)*** | 0 |

  **Stock On Hand Report**

**Please designate ALL Purchase Orders- *Ship from Stock On Hand* to ensure inventory is allocated from stock**

**on hand and not designated to normal production lead time.**

**Standard Lead Time: For Items listed above 14 Business Days.**

* **Adaptor Curbs:** 
  + **Standard Lead-time 3-5 Days on 1.5 thru 15 Tons (Qty of 3 or less)**
  + **Quick Ship\* Option available on 1.5 thru 15 Tons (Qty of 3 or less / 30% fee applies)**

***\*Next Day Ship, P.O. by 10am, ships next business day***

**CFCCA-044** [**submittal**](file:///\\CFBDC1\FTP%20Root\SUBMITTALS_INSTALLATION%20DATA\Adaptors\CFCCA-044.pdf) **Carrier 3-5 Ton 0**

**CFCCA-065** [**submittal**](file:///\\CFBDC1\FTP%20Root\SUBMITTALS_INSTALLATION%20DATA\Adaptors\CFCCA-044.pdf) **Carrier 2-3 Ton 3**

**CFCCA-052** [**submittal**](file:///\\CFBDC1\FTP%20Root\SUBMITTALS_INSTALLATION%20DATA\Adaptors\CFCCA-052.pdf) **Carrier 3-5 Ton 1**

**Stock on Hand Quantities are subject to change without notice and are sold on a first come first serve basis.**

**Please note that this report is updated once daily, contact customer support for more detailed information.**